Annual Drinking Water Quality Report

2025 Assiniboine Sioux Rural Water Supply System
PWSID#083090050
Wolf Point, MT
We’re very pleased to provide you with the Annual Drinking Water Quality Report.  We want to keep you informed about the excellent water and services we have delivered to you over the past year.  Our goal is, and always has been, to provide you with a safe and dependable supply of drinking water.  Our water source is surface water from the Missouri River.  We have completed a source water protection plan that provides more information, such as potential sources of contamination to our drinking water supply.  This plan may be obtained by contacting the EPA at (406) 457-5009.
Drinking water, including bottled water, may reasonably be expected to contain small amounts of contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791). 

Sources of drinking water (both tap and bottled) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the land surface or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from animal or human activity. 

Contaminants that may be present include:

Microbial contaminants, such as viruses and bacteria, may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife. 

Inorganic contaminants, such as salts and metals, can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming. 

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses. 

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems. 

Radioactive contaminants, which can be naturally occurring or the result of oil and gas production and mining activities. 

To ensure that tap water is safe to drink, the EPA sets regulations that limit the levels of certain contaminants in water from public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water that must provide the same protection for public health.
We’re pleased to report that our drinking water is safe and meets federal and state requirements.  
If you have any questions about this report concerning your water treatment data analyses, please contact Matthew James 406-768-5719. For distribution system monitoring results, please contact Eddie Crowe at 406-768-5719. For Public Concerns or Public information, the ASRWSS Board of Directors consists of 5 members and meets twice a month on the 1st and 3rd Tuesday of each month around 9:30am. Meetings are held at the ASRWSS office building located at 5353 BIA route 14 Poplar Mt, 59255. 
Assiniboine Sioux Rural Water routinely monitors for contaminants in your drinking water in accordance with Federal and State laws.  The following table shows the results of any detections in our monitoring for the period of January 1st to December 31st, 2025.  For constituents that are not monitored yearly, we have reviewed our records over the past five years.  

We have monitored lead and copper, and all our samples have been in compliance with the Lead and Copper Rule. If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Assiniboine Sioux Rural Water is responsible for providing high-quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead. 
Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. The Assiniboine Sioux Rural Water Supply System is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact Eddie Crowe 406-768-5719. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead. 
The lead service line inventory was completed in the fall of 2024. We are working to identify our unknown lines. This project will be ongoing for a few years.
	Date sampled
	Parameter
	90TH percentile value
	Unit of measurement
	Action level
	Source of contamination

	2025
	Lead
	0
	ppb
	10
	Household plumbing

	2025
	Copper
	0.384
	ppm
	1.3
	Household plumbing


In the tables above and below, you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms, we've provided the following definitions:

Parts per million (Ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (Ppb) or micrograms per liter (ug/L)-one part per billion corresponds to one minute in 2000 years or a single penny in $10,000,000.

Nephelometric Turbidity Unit (NTU) – A Nephelometric Turbidity Unit is a measure of the clarity of water.  Turbidity more than 5 NTU is just noticeable to the average person.

Action Level - The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow.

Treatment Technique (TT) - (mandatory language) A treatment technique is a required process intended to reduce the level of contaminants in drinking water.

Maximum Contaminant Level - (mandatory language) The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - (mandatory language) The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

 Picocuries per liter (pCi/L)-Picocuries per liter is a measure of the radioactivity in water.

	Turbidity

	
	Limit (Treatment Technique)
	Level Detected
	Violation
	Likely Source of Contamination
	

	Highest single Measurement
	1.0 NTU
	0.12 (3-9-25)

	N
	Soil runoff
	

	Lowest monthly % meeting limit
	0.3 NTU
	100%
	N
	Soil Runoff
	

	Information Statement: Turbidity is a measurement of the cloudiness of the water caused by suspended particles.  We monitor it because it is a good indicator of water quality and the effectiveness of our filtration


	TEST RESULTS

	Contaminant
	Violation

Y/N
	Sample Date
	Highest

Level

Detected
	Range
	Unit of

Measurement

	MCLG
	MCL
	Likely Source of Contamination

	Inorganic Contaminants

	Fluoride
	N
	2025
	0.7
	.70 -.70
	ppm
	4
	4
	Erosion of natural deposits

	Nitrate+ Nitrite as N
	N
	2025
	0.01
	.01-.01
	ppm
	10
	10
	Erosion of natural deposits

	Radioactive Contaminants

	Uranium
	N
	2022
	0.0008
	0.0008-0.0008
	ppb
	0
	30
	Erosion of natural deposits

	Disinfection By-products                                                 

	Chlorine
	N
	2025
	3.2
	1.2-3.2
	ppm
	MRDLG
4
	MRDL
4
	Water additive used to control microbes

	Total Trihalomethanes
TTHMs
	N
	2025
	21
	17-21
	ppb
	0
	80
	By-product of drinking water chlorination

	Haloacetic acids
HAAs
	N
	2025
	17
	12-17
	ppb
	0
	60
	By-product of drinking water chlorination


	Haloacetic Acids (HAA5)

	Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE (DBP), MAJOR
	04/01/2025
	06/30/2025
	We failed to test our drinking water for the contaminant during the period indicated. The missed sampling period means we cannot confirm DBP levels for that quarter. There is no evidence that water quality was unsafe during this time, and all other testing before and after the missed period met regulatory standards.


	Total Trihalomethanes (TTHM)

	Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE (DBP), MAJOR
	04/01/2025
	06/30/2025
	We failed to test our drinking water for the contaminant during the period indicated. The missed sampling period means we cannot confirm DBP levels for that quarter. There is no evidence that water quality was unsafe during this time, and all other testing before and after the missed period met regulatory standards.


We’re proud that your drinking water meets or exceeds all Federal and State requirements.  We have learned through our monitoring and testing that some constituents have been detected.  The EPA has determined that your water IS SAFE at these levels. 

MCL’s are set at very stringent levels.  To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised people such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791). 
We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

1
1

